| SAN DIEGO AIR POLLUTION CONTROL DISTRICT COMPLIANCE DIVISION 10124 OLD GROVE ROAD SAN DIEGO CA 92131 PHONE (858) 586-2650 | APCD USE ONLY |
| --- | --- |
|  | SECTOR |
|  | ID# |
|  | NOV# |

# VAPOR PRESSURE SENSOR VERIFICATION TEST PROCEDURE

## Exhibit 10 of ARB E.O. VR 203-X or VR-204-X

| ☐ Renewal Testing | ☐ Compliance Witness | ☐ Compliance Testing | ☐ Engineering Evaluation |
| --- | --- | --- | --- |
| (Contractor only) | (District only) | (District only) |  |

## Facility Name:		A/C or PO Number:		Time of Test:

(Record exact time of test in order to demonstrate proper test sequencing as required in Attachment L)

| PRESSURE SENSOR INFORMATION |  |
| --- | --- |
| Pressure Sensor Location: Dispenser No.: / | Pressure Sensor Serial No. |

| FACILITY AND TESTING EQUIPMENT INFORMATION |  |
| --- | --- |
| Date and Time of Last Fuel Delivery: |  |
| Processor Status During Test: (Applicable for VST membrane processor only) | ☐ ON ☐ OFF |
| Calibration Date of Digital Manometer: |  |

| UST PRESSURE REFERENCE CHECK |  |
| --- | --- |
| UST Pressure from Digital Manometer1 | Inches of W.C. |
| Vapor Containment Area Pressure1 (Obtain Value from TLS Console using Figure 8-4) | Inches of W.C. |
| Difference in Pressure Readings1,2 | Inches of W.C. |
| Is the difference in pressure readings between ± 0.20” W.C.? | ☐ YES ☐ NO |
| Once test completed was the Mode Key pressed to exit the PMC/ISD Diagnostic Menu? | ☐ YES |

| AMBIENT REFERENCE CHECK |  |
| --- | --- |
| Was the Reference Port Cap removed? | ☐ YES |
| Was the pressure sensor valve set to the Ambient Reference Port? (Refer to Figure 8.3) | ☐ YES |
| Vapor Containment Area Pressure1 (Obtain Value from TLS Console using Figure 8-4) | Inches of W.C. |
| Is the sensor pressure value between ± 0.20” W.C.? | ☐ YES ☐ NO |
| Was the Reference Port Cap replaced? | ☐ YES |
| Once test completed was the Mode Key pressed to exit the PMC/ISD Diagnostic Menu? | ☐ YES |

1 Record the pressure in inches of water column (W.C.), to the nearest hundredth.

2 Difference in Pressure Readings = UST Pressure from Digital Manometer – Vapor Containment Area Pressure, in inches of W.C., to the nearest hundredth. (Only applicable for the UST Pressure Reference Check)