[image: ]	SAN DIEGO AIR POLLUTION CONTROL DISTRICT
COMPLIANCE DIVISION 10124 OLD GROVE ROAD SAN DIEGO CA 92131 PHONE (858) 586-2650
APCD USE ONLY

SECTOR 	

ID#	

NOV#	


Exhibit 13 of VR-203/4, and Exhibit 8 of VR-208 or VR-501

Hirt VCS 100 Processor Operability Test
Facility Name: _	A/C or PO Number:  	Date/Time of Test*: _ For ISD Alarm Response Purposes only: Processor is on and processing vapors: Yes ☐ No☐
Was TP-201.3 (Including Exhibit 4) conducted in the last 24 hours? ☐Yes or ☐No Was TP-201.4 (Including Exhibit 6) conducted in the last 24 hours? ☐Yes or ☐No Was Exhibit 5 conducted in the last 24 hours? ☐ Yes or ☐No
Was there a fuel delivery within the last 3 hours? ☐Yes or ☐No
Is the total ullage 70% or less of the total capacity of the GDF storage tank(s): ☐Yes or ☐No



	STEP 5.1
	Is POWER switch lit?	☐Yes or ☐No

	STEP 5.2
	Is PROCESSING lamp ON?	☐Yes or ☐No
If “YES”, test cannot be performed until lamp goes off.

	STEP 5.9
	Time for PROCESSING Lamp to Light? _minutes
Did PROCESSING Lamp light within three (3) minutes? ☐Yes or ☐No

	STEP 5.10
	Time for OVERPRESSURE Lamp to Light? _ minutes
Did OVERPRESSURE Lamp light within sixty two (62) minutes? ☐Yes or ☐No


















*Record exact time of test to demonstrate proper test sequencing as required in Attachment A.
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