| SAN DIEGO AIR POLLUTION CONTROL DISTRICT COMPLIANCE DIVISION 10124 OLD GROVE ROAD SAN DIEGO CA 92131 PHONE (858) 586-2650 | APCD USE ONLY |
| --- | --- |
|  | SECTOR |
|  | ID# |
|  | NOV# |

# Exhibit 13 of VR-203/4, and Exhibit 8 of VR-208 or VR-501

# Hirt VCS 100 Processor Operability Test

Facility Name: _	A/C or PO Number:  	Date/Time of Test*: _ For ISD Alarm Response Purposes only: Processor is on and processing vapors: Yes ☐ No☐

Was TP-201.3 (Including Exhibit 4) conducted in the last 24 hours? ☐Yes or ☐No Was TP-201.4 (Including Exhibit 6) conducted in the last 24 hours? ☐Yes or ☐No Was Exhibit 5 conducted in the last 24 hours? ☐ Yes or ☐No

Was there a fuel delivery within the last 3 hours? ☐Yes or ☐No

Is the total ullage 70% or less of the total capacity of the GDF storage tank(s): ☐Yes or ☐No

| STEP 5.1 | Is POWER switch lit? ☐Yes or ☐No |
| --- | --- |
| STEP 5.2 | Is PROCESSING lamp ON? ☐Yes or ☐No If “YES”, test cannot be performed until lamp goes off. |
| STEP 5.9 | Time for PROCESSING Lamp to Light? _minutes Did PROCESSING Lamp light within three (3) minutes? ☐Yes or ☐No |
| STEP 5.10 | Time for OVERPRESSURE Lamp to Light? _ minutes Did OVERPRESSURE Lamp light within sixty two (62) minutes? ☐Yes or ☐No |

*Record exact time of test to demonstrate proper test sequencing as required in Attachment A.

Rev. 08/26	Page 1 of 1