APCD USE ONLY

SECTOR

ID#

NOV#

SAN DIEGO AIR POLLUTION CONTROL DISTRICT

COMPLIANCE DIVISION 10124 OLD GROVE ROAD SAN DIEGO CA 92131-1649 PHONE (858) 586-2650

# DETERMINATION OF STATIC PRESSURE PERFORMANCE OF THE HEALY CLEAN AIR SEPARATOR

## Exhibit 4 of ARB E.O. VR-201/202-XX and Exhibit 14 of ARB E.O VR-203/204-XX

### Facility Name:	A/C or PO Number:	Time of Test:

For ISD Alarm Response Purposes Only: CAS Ball Valve positions checked for proper orientations:	☐ Yes or	☐ No

(Record exact time of test in order to demonstrate proper test sequencing as required in Attachment A)

| Time and Date of most recent delivery: | Leak Check Conducted: ☐ Yes or ☐ No |
| --- | --- |
| Date of Last Calibration of Pressure Measurement Device: | Phase II Executive Order #: |

If the station pressure is -2.00” W.C. or more negative, a vacuum test must be performed followed by a pressure test. If the pressure is less negative than -2.00” W.C., a pressure test must be performed. Anytime a vacuum test is conducted a subsequent pressure test shall also be conducted immediately after the vacuum test.

## Existing station pressure:

VACUUM TEST	PRESSURE TEST

| Time (Minutes) | Vacuum Measurement (in wc) |  | Time (Minutes) | Pressure Measurement (in wc) |
| --- | --- | --- | --- | --- |
| Beginning of Test |  |  | Beginning of Test |  |
| At 1 minute |  |  | At 1 minute |  |
| At 2 minutes |  |  | At 2 minutes |  |
| At 3 minutes |  |  | At 3 minutes |  |
| At 4 minutes |  |  | At 4 minutes |  |
| At 5 minutes |  |  | At 5 minutes |  |
| Allowable Minimum Vacuum (from Table 1) |  |  | Allowable Final Pressure | 1.77 |