APCD USE ONLY

SECTOR

ID#

NOV#

SAN DIEGO AIR POLLUTION CONTROL DISTRICT

COMPLIANCE DIVISION 10124 OLD GROVE ROAD SAN DIEGO CA 92131-1649 PHONE (858) 586-2650

# VP1000/DISPENSER INTEGRITY TEST

Exhibit 14 & IOM of VR 201/202

## Facility Name:	A/C or PO Number:	Time of Test:

(Record exact time of test in order to demonstrate proper test sequencing as required in Attachment A)

| Dispenser No. | Exhibit 14 & IOM B-3 | Exhibit 14 & IOM B-4 |  | IOM B-5 |  | IOM B-6 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Vacuum Reading Initial1 (WC) | Vacuum Reading After closing the ball valve1 (WC) | Vacuum Reading After 60 sec.2 (WC) | Dispenser Side | Dispensing Vacuum3 (WC) | Change in Speed (check one) |
|  |  |  |  | A |  | ☐ YES ☐ NO |
|  |  |  |  | B |  |  |
|  |  |  |  | A |  | ☐ YES ☐ NO |
|  |  |  |  | B |  |  |
|  |  |  |  | A |  | ☐ YES ☐ NO |
|  |  |  |  | B |  |  |
|  |  |  |  | A |  | ☐ YES ☐ NO |
|  |  |  |  | B |  |  |
|  |  |  |  | A |  | ☐ YES ☐ NO |
|  |  |  |  | B |  |  |
|  |  |  |  | A |  | ☐ YES ☐ NO |
|  |  |  |  | B |  |  |
|  |  |  |  | A |  | ☐ YES ☐ NO |
|  |  |  |  | B |  |  |
|  |  |  |  | A |  | ☐ YES ☐ NO |
|  |  |  |  | B |  |  |

1 These vacuum readings shall be at least 60” Water Column (WC)

2 Final vacuum reading shall not fall more than 4” WC from the reading taken after closing the ball valve.

3 The dispensing vacuum shall not be less than 60” WC