APCD USE ONLY

SECTOR

SAN DIEGO AIR POLLUTION CONTROL DISTRICT

NOV#

ID#

COMPLIANCE DIVISION 10124 OLD GROVE ROAD SAN DIEGO CA 92131 PHONE (858) 586-2650

# DETERMINATION OF VST ECS MEMBRANE PROCESSOR ACTIVATION PRESSURE

## Exhibit 9 of ARB E.O. VR 203-X or VR-204-X

### Facility Name:		A/C or PO Number:		Time of Test:

(Record exact time of test in order to demonstrate proper test sequencing as required in Attachment L)

| FACILITY AND TESTING EQUIPMENT INFORMATION |  |
| --- | --- |
| Date and Time of Last Fuel Delivery: |  |
| Date and Time of Last TP-201.3/TP-96-1 Performed: |  |
| Calibration Date of Digital Manometer: |  |
| Processor Status During Test: | ☐ ON ☐ OFF |
| Leak Check Successfully Completed on Test Assembly? | ☐ YES ☐ NO |

| TEST RESULTS |  |  |
| --- | --- | --- |
| Pressure (Inches W.C.) | Processor Activated |  |
| 0.10 | ☐ Yes | ☐ No |
| 0.20 | ☐ Yes | ☐ No |
| 0.30 | ☐ Yes | ☐ No |
| 0.40 | ☐ Yes | ☐ No |
| 0.50 | ☐ Yes | ☐ No |
| Pass or Fail |  |  |