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DETERMINATION OF VST ECS MEMBRANE PROCESSOR ACTIVATION PRESSURE
Exhibit 9 of ARB E.O. VR 203-X or VR-204-X

Facility Name:		A/C or PO Number:		Time of Test:	
(Record exact time of test in order to demonstrate proper test sequencing as required in Attachment L)


	FACILITY AND TESTING EQUIPMENT INFORMATION

	Date and Time of Last Fuel Delivery:
	

	Date and Time of Last TP-201.3/TP-96-1 Performed:
	

	Calibration Date of Digital Manometer:
	

	Processor Status During Test:
	☐ ON  ☐ OFF

	Leak Check Successfully Completed on Test Assembly?
	☐ YES ☐ NO




	TEST RESULTS

	Pressure (Inches W.C.)
	Processor Activated

	0.10
	☐ Yes
	☐ No

	0.20
	☐ Yes
	☐ No

	0.30
	☐ Yes
	☐ No

	0.40
	☐ Yes
	☐ No

	0.50
	☐ Yes
	☐ No

	Pass or Fail
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