**VR-201-202-XX Healy Quarterly Inspection**

|  |
| --- |
| SOURCE INFORMATION and Inspection Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| Facility (DBA): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ | Individual conducting inspection: \_\_\_\_\_\_\_\_\_ |
| Facility Street Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ | Affiliation: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| City/Zip: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ | P/O Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| **Valve** | **Clean Air Separator Inspection**Check One Box Below |
| A | [ ] Open [ ] Closed |
| B | [ ] Open [ ] Closed |
| C | [ ] Open [ ] Closed |
| D | [ ] Open [ ] Closed |
| **Plug** |  |
| E | [ ] Installed [ ] Missing |
| F | [ ] Installed [ ] Missing |

**Clean Air Separator Normal Operating Configuration**

**Verify that the Healy nozzle will not dispense fuel when the dispenser is authorized (ready to dispense fuel) and the boot is in a free state (uncompressed).** To conduct this inspection, remove the nozzle from the dispenser, authorize the dispenser, and point the nozzle into an approved container (do not compress the mini-boot in any manner) and actuate the nozzle lever. No fuel should dispense. Any nozzle that dispenses fuel with the miniboot in a free state condition, as determined by this inspection procedure, shall be removed from service until repaired or replaced.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Nozzle #** | **Pass/Fail** |  | **Nozzle #** | **Pass/Fail** |
| \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ |
| \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ |
| \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ |
| \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ |
| \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ |
| \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ |
| \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ |
| \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ |
| \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ |
| \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ |
| \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ |
| \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ |
| \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ |
| \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ |
| \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ |
| \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ |
| \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ | \_\_\_\_\_\_\_\_\_ |

**VP 1000 Vacuum Pump Inspection**

Do the VP1000 vacuum pumps have loose or damaged vapor line connections? [ ] **YES** [ ] **NO**

(If copper tubing is kinked or loose remove the dispenser from service and call a Healy certified Technician for service)