| SAN DIEGO AIR POLLUTION CONTROL DISTRICT COMPLIANCE DIVISION 10124 OLD GROVE ROAD SAN DIEGO CA 92131 PHONE (858) 586-2650 | APCD USE ONLY |
| --- | --- |
|  | SECTOR |
|  | ID# |
|  | NOV# |

# INCON Pressure Sensor Operability Test (Balance Systems)

## Exhibit 20 of ARB E.O. VR 204-X / Exhibit 11 of ARB E.O. VR 208-XX

For ISD Alarm Response Purposes Only: 1) Flow meter site glass checked to see if air is flowing: ☐ Yes ☐ No

2) ISD Pressure sensor valve in proper orientation: ☐ Yes ☐ No

### Facility Name:	A/C or PO Number:	Time of Test:

(Record exact time of test in order to demonstrate proper test sequencing required in Attachment L).

| VAPOR PRESSURE SENSOR OFFSET CHECK (AMBIENT CHECK) |  |  |  |
| --- | --- | --- | --- |
| Pressure Sensor Location: Dispenser No.: / |  | Pressure Sensor Serial No. |  |
|  | Initial Ambient Reference Check |  | After calibrating the pressure sensor (If Required)10: |
| Vapor Containment Area Pressure | Inches of W.C. |  | Inches of W.C. |
| Is the sensor pressure value between ± 0.20 in w.c.? | ☐ Yes ☐ No |  | ☐ Yes ☐ No |

| VAPOR PRESSURE SENSOR UST PRESSURE TEST |  |
| --- | --- |
| Vapor Containment Area Pressure | Inches of W.C. |
| UST Pressure digital manometer value | Inches of W.C. |
| Is the vapor containment area pressure between ± 0.20 in w.c. of the digital manometer value? | ☐ Yes ☐ No ( (If no, the vapor pressure sensor is not in compliance. Proceed to Incon ISD system troubleshooting manual) |