| SAN DIEGO AIR POLLUTION CONTROL DISTRICT | APCD USE ONLY |
| --- | --- |
|  | SECTOR |
| COMPLIANCE DIVISION |  |
| 10124 OLD GROVE ROAD |  |
|  | ID# |
| SAN DIEGO CA 92131-1649 |  |
| PHONE (858) 586-2650 | NOV# |

LIQUID CONDENSATE TRAP (LCT) COMPLIANCE PROCEDURE

Exhibit 9 of VR-201 and Exhibit 11of VR-202 And Exhibit 16 of VR 203/204

Facility Name:	A/C or PO Number:

Time of Test:	(Record exact time of test to demonstrate proper test sequencing as

specified in Permit to Operate Attachments A or L).

Capacity of LCT in gallons:

Time in Minutes for alarm activation after adding fuel:

| 1) Gasoline below 90 percent capacity level of UST? | ☐ Yes ☐ No |
| --- | --- |
| 2) Is metal tag specifying LCT capacity installed above Fuel Entry Point? | ☐ Yes ☐ No |
| 3) Did control panel indicate both visual and audible alarms? | ☐ Yes ☐ No |
| 4) Did LCT evacuate and sensor alarms clear? | ☐ Yes ☐ No |

Attach alarm sensor status printout to this form.