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SECTOR
COMPLIANCE DIVISION

10124 OLD GROVE ROAD


ID#
SAN DIEGO CA 92131-1649



PHONE (858) 586-2650
NOV#



[bookmark: LIQUID_CONDENSATE_TRAP_(LCT)_COMPLIANCE_]LIQUID CONDENSATE TRAP (LCT) COMPLIANCE PROCEDURE
Exhibit 9 of VR-201 and Exhibit 11of VR-202 And Exhibit 16 of VR 203/204

Facility Name:	A/C or PO Number:	
Time of Test:	(Record exact time of test to demonstrate proper test sequencing as
specified in Permit to Operate Attachments A or L).



Capacity of LCT in gallons:	

Time in Minutes for alarm activation after adding fuel:	


	
1)	Gasoline below 90 percent capacity level of UST?
	
☐ Yes    ☐ No

	2) Is metal tag specifying LCT capacity installed above Fuel Entry Point?
	☐ Yes    ☐ No

	
3)	Did control panel indicate both visual and audible alarms?
	
☐ Yes    ☐ No

	4)	Did LCT evacuate and sensor alarms clear?
	☐ Yes    ☐ No



Attach alarm sensor status printout to this form.
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