|  | ### SAN DIEGO AIR POLLUTION CONTROL DISTRICT COMPLIANCE DIVISION ### 10124 Old Grove Road ### SAN DIEGO CA 92131 #### PHONE (858) 586-2650 FAX (858) 586-2651 | APCD USE ONLY |
| --- | --- | --- |
|  |  | SECTOR |
|  |  | ID# |
|  |  | NOV# |

#### DYNAMIC BACK PRESSURE

##### TP-201.4

Facility Name:      		A/C or PO Number:      		Time of Test:

(Record exact time of test in order to demonstrate proper test sequencing as required in Attachment A or L)

The pressure drop shall be measured from each nozzle to the UST (methodology 1) or from the dispenser riser to the UST (methodology 4) with pressure/vacuum vent valves installed and with the poppeted Phase I vapor connection open. This test shall be performed after liquid is introduced down each dispenser riser into the Phase II system.

Test Requirements per EO VR 203-XX/204-XX/205-XX/207-XX/208-XX/209-XX Exhibit 6

| - Dispensers deactivated before testing? | Yes NO NA |
| --- | --- |
| - Hirt VCS 100 Thermal Oxidizer turned off before testing? (if applicable) | Yes NO NA |
| - Nozzle and hose completely drained of gasoline prior to inserting nozzle into Dynamic Back Pressure Unit? | Yes NO NA |
| - Nozzle lever fully engaged when conducting flow test? | Yes NO NA |
| - Hirt VCS 100 Thermal Oxidizer turned on after testing? (If applicable) | Yes NO NA |

Methodology 1		        Methodology 4

| Fueling Point | Grade Point | Pressure Drop @ |  |  | Dispenser No. | Pressure Drop @ 60 CFH |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 60 CFH | 80 CFH |  |  |  |
|  |  |  |  |  | 1 |  |
|  |  |  |  |  | 2 |  |
|  |  |  |  |  | 3 |  |
|  |  |  |  |  | 4 |  |
|  |  |  |  |  | 5 |  |
|  |  |  |  |  | 6 |  |
|  |  |  |  |  | 7 |  |
|  |  |  |  |  | 8 |  |
|  |  |  |  |  | 9 |  |
|  |  |  |  |  | 10 |  |
|  |  |  |  |  | 11 |  |