APCD USE ONLY

SECTOR

ID#

NOV#

SAN DIEGO AIR POLLUTION CONTROL DISTRICT

COMPLIANCE DIVISION 10124 OLD GROVE ROAD SAN DIEGO CA 92131-1649 PHONE (858) 586-2650

# DROP TUBE/DRAIN VALVE PRESSURE INTEGRITY

## ☐ TP 201.1C	☐ TP 201.1D

### Facility Name:	 A/C or PO Number:		Time of Test:

(Record exact time of test in order to demonstrate proper test sequencing as required in Attachment A)

## Drop Tube Overfill Protection Device Installed?  ☐ Yes	☐ No

UST INFORMATION: (Only required for TP 201.1D)

| Product | Greatest Distance of SFP Measured From Bottom of Tank | Height of Product | Is Product > 4” above bottom of SFP? (If no do not conduct test) Check Yes or No |  |
| --- | --- | --- | --- | --- |
|  |  |  | ☐ Yes | ☐ No |
|  |  |  | ☐ Yes | ☐ No |
|  |  |  | ☐ Yes | ☐ No |
|  |  |  | ☐ Yes | ☐ No |

TEST DATA:	Pressure measuring device calibration date: 		Flow meter calibration date:

| Product Grade | Product Adaptor Make/ Model | Time (seconds) to reach 2.00 “w.c” at 0.17 CFH | 30-second stabilizing flow rate (CFH) at 1.95” – 2.05” | PASS /FAIL | TP 201.1D only Time (seconds) to reach 2.00 “w.c” at 0.42 CFH | TP 201.1D only 30-second stabilizing flow rate (CFH) at 1.95” – 2.05” | QOPD=QAssembly-QDrain | PASS /FAIL |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |