EQUIPMENT ADDRESS:

Rim seal configuration shall represent BACT at the time of installation

BACT demonstration is attached       YES      NO

Tank Description:

Tank Number        		Drawing No.:

Fuels stored in tank:

Density of fuels:

Materials proposed to be used are compatible with the fuels proposed  YES   NO

Baffles:  honeycomb  hanging baffles	        Drawing No.

Primary (Lower) Seal (type/mfg)      		Drawing No.

Secondary (Upper) Seal (type/mfg)      		Drawing No.

Roof weight with seals        	 lbs

Shoe Seal Information:

Distance from fuel surface to bottom of fabric cover is not less than 2" nor more than 2.5"   YES   NO

Distance from fuel surface to fabric cover shown in Drawing No.

Shoes do not drop, relative to the floating roof, more than 1" when the tank is being filled   YES   NO

Fuels will not contact fabric cover  YES   NO

Vapor space under fabric cover is minimized  YES   NO

Engineering calculations demonstrating that bottom of the cover will not contact the fuel surface in the event the floating roof/ pan shifts reducing the rim width on one side are attached  YES   NO

Secondary Seal Information:

Secondary seal is multiple wiper type  YES   NO

Sealant will be applied to bolt holes, braces, lap fittings etc. of secondary seal  YES   NO

Name of Preparer:      		Title:

Phone No.:  (     )       		Date:

NOTE TO APPLICANT:

Before acting on an application for Authority to Construct or Permit to Operate, the District may require further information, plans, or specifications.  Forms with insufficient information may be returned to the applicant for completion, which will cause a delay in application processing and may increase processing fees.  The applicant should correspond with equipment and material manufacturers to obtain the information requested on this supplemental form.